## 일일점검표_국문
O O O 연구실 일일점검표 [2017. O월]
1. 실험실 일반 현황
▪ 실번호 : ▪ 실 사용인원 :
▪ 연구실안전담당자 : ▪ 연구실책임자 :
2. 항목별 점검사항 | 양호 :○ 불량 :X 해당없음 :N/A
점검사항 | 점검결과
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1. 일반
연구실 정리정돈 및 청결상태
연구실내 흡연 및 음식물 섭취 여부
안전수칙, 안전표지, 개인보호구, 구급약품 등 실험장비(흄후드 등) 관리 상태
사전유해인자위험분석 보고서 게시
2. 전기
사용하지 않는 전기기구의 전원투입 상태 확인 및 무분별한 문어발식 콘센트 사용 여부
접지형 콘센트를 사용, 전기배선의 절연피복 손상 및 배선정리 상태
기기의 외함접지 또는 정전기 장애방지를 위한 접지 실시상태
전기 분전반 주변 이물질 적재금지 상태 여부
3. 소방
소화기 표지, 적정소화기 비치 및 정기적인 소화기 점검상태
비상구, 피난통로 확보 및 통로상 장애물 적재 여부
소화전, 소화기 주변 이물질 적재금지 상태여부
4. 기계
기계 및 공구의 조임부 또는 연결부 이상여부
위험설비 부위에 방호장치(보호 덮개) 설치상태
기계기구 회전반경, 작동반경 위험지역 출입금지 방호설비 설치 상태
5. 화공
유해인자 취급 및 관리대장, MSDS의 비치
화학물질의 성상별 분류 및 시약장 등 안전한 장소에 보관 여부
소량을 덜어서 사용하는 통, 화학물질의 보관함․보관용기에 경고표시 부착 여부
실험폐액 및 폐기물 관리상태 (폐액분류표시, 적정용기 사용, 폐액용기덮개체결상태 등)
발암물질, 독성물질 등 유해화학물질의 격리보관 및 시건장치 사용여부
6. 가스
가스 용기의 옥외 지정장소보관, 전도방지 및 환기 상태
가스용기 외관의 부식, 변형, 노즐잠금상태 및 가스용기 충전기한 초과여부
가스누설검지경보장치, 역류/역화 방지장치, 중화제독장치 설치 및 작동상태 확인
배관 표시사항 부착, 가스사용시설 경계/경고표시 부착, 조정기 및 밸브 등 작동 상태
주변화기와의 이격거리 유지 등 취급 여부
7. 생물
생물체(LMO 포함) 및 조직, 세포, 혈액 등의 보관 관리상태(보관용기 상태, 보관기록 유지, 보관 장소의 생물재해(Biohazard) 표시 부착 여부 등)
손 소독기 등 세척시설 및 고압멸균기 등 살균 장비의 관리 상태
생물체(LMO 포함) 취급 연구시설의 관리·운영대장 기록 작성 여부
생물체 취급기구(주사기,핀셋등),의료폐기물 등의 별도 폐기 여부 및 폐기용기 덮개설치 상태
8. 실험폐기물 관리
폐액의 적절한 분리 및 뚜껑 잠김 확인
의료폐기물 뚜껑 철저 확인
9. 기타
생물안전 스티커 부착
점검자 서명
안전담당자 서명
연구실책임자 서명

## 일일점검표_영문
O O O Laboratory Daily safety check-out (MM/YYYY)
1. Laboratory ID
▪ Room No. : ▪ Number of occupancy :
▪ Chief of Safety operation : ▪ Name of Lab Safety Manager (Professor) :
2. Check-out Lis | Good :○ Poor :X N/A :N/A
Check points | Daily Results
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1. General Safety
Lab neat and tidy
Smoking and Eating at lab
Management of safety rule, safety sign, personnel safety equip, hume hood including experiment equipments
Put up pre-hazard risk analysis report
2. Electric safety
Connect electric power with unusing electric devices and tentacle socket connection
Using of earthed socket, Damage of insulating coating on electric wiring, Electrical wiring arrangement
Earthed status in experiment equipment cover and for prevention of static electricity
Loading prohibit at front of electric panel board
3. Firefighting Safety
Proper fire extinguisher choice based on lab character, Fire extinguisher notice, Regular check status
Fire exit, secure evacuation way, load obstacle on the ways
Loading prohibit at fire extinguisher and hydrant surroundings
4. Machines Equipment
Machinery & tool's tightening and connecting parts status
Safety cover (protection device) install status in dangerous equipment
Safety guard install status of machinery turning radius, Operational radius at dangerous and restricted area
5. Chemical Safety
Put up hazard treat & manage register and MSDS
Chemicals classification based on property and status, Storage chemical reagents in safety cabinets
GHS mark attachment on reagents bottles and chemical containers
Experiment waste management status (classify sign, proper container with clamping cover)
Status of isolated storage and locking for cancer-causing agent and toxic substance
6. Gas Safety
Gas storage at restricted outdoor place, Gas cylinder fall down prevention, Ventilation status
Corrosion, Modify, Locking nozzle, Recharge time limit of gas cylinder
Gas leakage sensing alarm equipment, Gas non return valve, Scrubber installation and operation status
Attach signs on gas pipe, Warning sign on gas using equipment, Regulator and valve status
Distance maintenance between gas cylinder and fire
7. Biology Safety
Management status on organism (including LMO), tissue, cell, blood ( storage container, storage record and biohazard mark at storage place)
Management status on autoclave and cleaning facilities including hand sterilizer
Make management and operational ledger at organism research Lab
Separate disposal medical waste and organism apparatus (syringe, tweezers), Using status of waste box cover
8. Chemical & Bio Disposals
Spill check and tightening lids
Cover check biohazard wastes
9. Others
Checking biohazard labels
Inspector signature
Chief signature
Professor signature